## Cover
QSAN Technology, Inc.
XCubeFAS & XCubeSAN & XCubeDAS
Compatibility Matrix
Version 202104
114 台北市內湖區瑞湖街103號4樓
4F., No.103, Ruihu St., Neihu Dist., Taipei City 114, Taiwan (R.O.C.)
TEL : +886-2-7720-2118 FAX : +886-2-7720-0295

## Disclaimer
Disclaimer
1. | The compatibility matrix is for reference purpose only. It is subject to update at any time without notice.
2. | The compatibility test uses the versions as listed only.
3. | Althouth the test may spend a few hours up to a few days, it does not garentee the quality or reliability of these devices. The 3rd party device which has been listed means that it can work with our product at the time when testing it.

## Revision
Revision History
Date | Version | Description
2021-03-23 | 202104 | Add U.2 Dual Port 2.5" SSD - Samsung PM1733 Series in "U.2 SSD". Move 16Gb FC Switch - Brocade 6510 Switch to Legecy in "Legecy 16Gb Switch"
2021-03-18 | 202104 | Add 10GbE Ethernet Switch - EnGenius ECS5512 in "Switch" .
2021-03-02 | 202103 | Add SATA 2.5" SSD - Micron 5300 Series in "SATA SSD". Add XCubeFAS Series XF2026 compatibility table in "SATA SSD" .
2021-02-23 | 202103 | Add SATA 2.5" SSD - Seagate Nytro 1551 Series in "SATA SSD". Add SATA 2.5" SSD - Seagate Nytro 1351 Series in "SATA SSD". Add SATA 2.5" SSD - Samsung PM883 Series in "SATA SSD".
2021-01-29 | 202102 | Add XCubeFAS XF3126 VMware ESXi 6.7 certification for 16Gb FC in "Certification".
2021-01-13 | 202102 | Add SATA 2.5" SSD - Intel D3-S4510 Series in "SATA SSD". Add SATA 2.5" SSD - WD WD Ultrastar DC SA620 Series in "SATA SSD". Move SAS 2.5" SSD - Western Digital (HGST) Ultrastar DC SS530 to Legacy in "SAS SSD". Move U.2 2.5" SSD - Western Digital (HGST) Ultrastar DC SN200 0 to Legacy in "Legacy U.2 Dual Port 2.5" SSD".
2021-01-08 | 202102 | Update SAS 2.5" SSD - Seagate 3000 Series model name in "SAS SSD".
2020-12-24 | 202101 | Add 10GbE Ethernet Switch - EnGenius ECS5512 in "Switch" . Add XCubeFAS Series XF2026 compatibility table in "SAS SSD" .
2020-12-15 | 202101 | Add SAS 3.5" HDD - Exos X10 Series in "SAS HDD". Add SATA 2.5" SSD - Samsung SM883 Series in "SATA SSD". Add "U.2 SSD" compatibility table . Add XCubeFAS XF3126D WHQL Windows Server 2019 x64 certification for iSCSI & FC in "Certification".
2020-11-23 | 202012 | Add SAS 3.5" HDD - Toshiba MG06 Series in "SAS HDD". Add SAS 3.5" HDD - Toshiba MG08 Series in "SAS HDD". Add XCubeFAS Series XF3126 compatibility Table in "FC HBA", "iSCSI HBA", "Switch", "UPS"
2020-11-19 | 202012 | Add 32Gb FC HBA - ATTO Celerity Sleries in "FC HBA" Add 32Gb FC HBA - MARVELL (Qlogic) 2740/2760 Series in "FC HBA" Add 32Gb FC HBA - Broadcom (Emulex) LPe32000 Series in "FC HBA" Add 25Gb iSCSI HBA - ATTO FastFrame Series in "iSCSI HBA"
2020-10-30 | 202011 | Add SAS 3.5" HDD - Seagate Exos 7E8 512n Series in "SAS HDD".
2020-10-29 | 202011 | Add SAS 2.5" SSD - Samsung PM1643a Series in "SAS SSD". Add Legacy SAS 3.5" HDD - Seagate Enterprise Capacity 3.5 HDD Constellation ES.3 in "SAS HDD"
2020-10-11 | 202010 | Update SAS 3.5" HDD - Western Digital (HGST) Ultrastar DC HC520 (He12) Series in "SAS HDD".
2020-09-29 | 202010 | Add SAS 2.5" SSD - Seagate Nytro 3732 SAS SSD Series in "SAS SSD". Add SAS 2.5" SSD - Seagate Nytro 3532 SAS SSD Series in "SAS SSD". Add SAS 2.5" SSD - Seagate Nytro 2532 SAS SSD Series in "SAS SSD". Add SAS 2.5" SSD - Seagate Nytro 2332 SAS SSD Series in "SAS SSD".
2020-09-16 | 202010 | Add Comment - Green font color Update SAS 2.5" HDD - Exos 15E900 Series firmware version in "SAS HDD". Update SAS 2.5" SSD - Samsung PM1643 Series firmware version in "SAS SSD".
2020-09-04 | 202009 | Add SAS 2.5" SSD - Seagate Nytro 3332 SAS SSD Series in "SAS SSD". Add SAS 3.5" HDD - Western Digital (HGST) Ultrastar DC HC550 in "SAS HDD". Remove SAS 2.5" SSD -Samsung PM1643 Model: MZILT30THMLA in "SAS SSD".
2020-08-10 | 202008 | Rename Seagate - Nytro XF1551/XF1351 in "SATA SSD"
2020-04-28 | 202005 | Add 100GbE Ethernet Switch -Mellanox SN2010 in "Switch" . Update SAS 2.5" SSD - Seagate Nytro 3731 SAS SSD Series in "SAS SSD" .
2020-04-20 | 202005 | Add 25Gb iSCSI HBA - Mellanox ConnectX-4 Lx series in "iSCSI HBA" Add 25Gb iSCSI HBA - Chelsio T6225 series in "iSCSI HBA" Update SAS 3.5" HDD - Seagate Exos 7E8 Series in "SAS HDD".
2020-03-30 | 202004 | Update SAS 2.5" SSD - KIOXIA (Toshiba) KPM51VUG**** Series in "SAS SSD". Add SATA 2.5" SSD - Western Digital PC SA530 in "SATA SSD". Add Comment - Consumer SSD in "SATA SSD" Add 25Gb iSCSIE HBA - Intel XXV710 series in "iSCSI HBA". Add XCubeFAS XF2026D VMware ESXi 6.7 certification for 16Gb FC in "Certification".
2020-03-02 | 202003 | Add SAS 3.5" HDD - Seagate Exos 7E8 (SED) Series in "SAS HDD". Add SAS 3.5" HDD - Ultrastar DC HC330 Series in "SAS HDD".
2019-12-30 | 202001 | Add Expansion Unit - Seagate Exos E 4U106 in "Expansion Unit". Add Expansion Unit - Western Digital Ultrastar Data102 in "Expansion Unit".
2019-12-24 | 202001 | Update SAS 3.5" HDD - Seagate Exos 7E8 Series in "SAS HDD".
2019-12-17 | 202001 | Add XCubeFAS XF2026D WHQL Windows Server 2019 x64 certification for iSCSI & FC in "Certification". Add XCubeSAN XS5200 Series WHQL Windows Server 2019 x64 certification for iSCSI & FC in "Certification". Add XCubeSAN XS3200 Series WHQL Windows Server 2019 x64 certification for iSCSI & FC in "Certification". Add XCubeSAN XS1200 Series WHQL Windows Server 2019 x64 certification for iSCSI & FC in "Certification".
2019-12-04 | 202001 | Add SAS 2.5" SSD - Seagate Nytro 3530 SAS SSD (SED) Series in "SAS SSD".
2019-11-25 | 201912 | Add SAS 2.5" SSD - Western Digital (HGST) Ultrastar DC SS530 Series in "SAS SSD".
2019-10-28 | 201911 | Add SATA 2.5" SSD - Micron 5210 ION Enterprise SATA QLC SSD in "SATA SSD".
2019-10-25 | 201911 | Update SAS 3.5" HDD - Western Digital Ultrastar DC HC530 in "SAS HDD". Move SAS 3.5" HDD - Western Digital (HGST) Ultrastar C15K600 to Legacy in "SAS HDD". Move SAS 3.5" HDD - Western Digital (HGST) Ultrastar C10K1800 to Legacy in "SAS HDD". Move SAS 2.5" SSD - Western Digital (HGST) Ultrastar SS300 to Legacy in "SAS HDD".
2019-10-02 | 201910 | Add Expansion Unit - Western Digital Ultrastar Data60 in "Expansion Unit".
2019-10-01 | 201910 | Rename Toshiba to KIOXIA (Toshiba) in "SAS SSD" & "SAS SSD". Move SAS 3.5" HDD - Western Digital (HGST) Ultrastar 7K6000 to Legacy in "SAS HDD".
2019-09-09 | 201910 | Add SAS 2.5" SSD - KIOXIA (Toshiba) HK6-R Series in "SATA SSD".
2019-07-30 | 201908 | Remove SAS 2.5" HDD - Toshiba AL14SEB**E*x Series in "SAS HDD" because some HDDs have found PCB bending issue and are easily shorted to the HDD tray.
2019-07-29 | 201908 | Update SAS 2.5" SSD - Seagate Nytro 3731 SAS SSD Series in "SAS SSD". Update SAS 2.5" SSD - Seagate Nytro 3531 SAS SSD Series in "SAS SSD". Update SAS 2.5" SSD - Seagate Nytro 3531 SAS SSD Series in "SAS SSD". Update SAS 2.5" SSD - Seagate Nytro 3131 SAS SSD Series in "SAS SSD".
2019-07-03 | 201908 | Add SAS 3.5" HDD - Seagate Exos X16 Series in "SAS HDD". Add SAS 3.5" HDD - Seagate Exos 7E8 Series in "SAS HDD". Move SAS 3.5" HDD - Seagate Exos X14 Series to Legacy in "SAS HDD". Move SAS 3.5" HDD - Seagate Exos 7E8 V5 Series to Legacy in "SAS HDD".
2019-06-25 | 201907 | Update SAS 2.5" SSD - Seagate Nytro 3731 SAS SSD Series in "SAS SSD". Update SAS 2.5" SSD - Seagate Nytro 3531 SAS SSD Series in "SAS SSD". Update SAS 2.5" SSD - Seagate Nytro 3531 SAS SSD Series in "SAS SSD". Update SAS 2.5" SSD - Seagate Nytro 3131 SAS SSD Series in "SAS SSD".
2019-06-13 | 201907 | Add SAS 2.5" SSD - Toshiba PM5-M Series in "SAS SSD". Add SAS 2.5" SSD - Toshiba PM5-V Series in "SAS SSD". Update SAS 2.5" SSD - Toshiba PM5-R Series in "SAS SSD".
2019-05-31 | 201906 | Add SAS 2.5" SSD - Samsung PM1643 Series in "SAS SSD". Move SAS 2.5" SSD - Samsung PM1633a Series to Legacy in "SAS SSD".
2019-05-27 | 201906 | Add SAS 2.5" SSD - Seagate Nytro 3731 SAS SSD Series in "SAS SSD". Add SAS 2.5" SSD - Seagate Nytro 3531 SAS SSD Series in "SAS SSD". Add SAS 2.5" SSD - Seagate Nytro 3531 SAS SSD Series in "SAS SSD". Add SAS 2.5" SSD - Seagate Nytro 3131 SAS SSD Series in "SAS SSD". Add SAS 2.5" SSD - Toshiba PM5-R Series in "SAS SSD". Move SAS 2.5" SSD - Seagate Nytro 1200.2 SSD Series to Legacy in "SAS SSD".
2019-05-07 | 201906 | Add SATA 2.5" SSD - Seagate Nytro 1351 SATA SSD Series in "SATA SSD". Move SATA 2.5" SSD - Seagate Nytro XF1230 SATA SSD Series to Legacy in "SATA SSD".
2019-04-30 | 201905 | Add SAS 3.5" HDD - Toshiba MG07SCA**** (512e) Series in "SAS HDD".
2019-04-23 | 201905 | Update SAS 2.5" HDD - Seagate Exos 15E900 Series in "SAS HDD".
2019-01-29 | 201902 | Add SAS 3.5" HDD - Seagate Exos X14 Series in "SAS HDD".
2019-01-23 | 201902 | Add XCubeFAS XF2000 WHQL Windows Server 2016 x64 certification for iSCSI in "Certification".
2019-01-09 | 201902 | Add XCubeFAS XF2000 WHQL Windows Server 2016 x64 certification for FC in "Certification".
2018-11-23 | 201812 | Add SAS 3.5" HDD - Seagate Exos 7E8 (512n) Series in "SAS HDD". Add SAS 2.5" HDD - Seagate Exos 15E900 Series in "SAS HDD".
2018-11-16 | 201812 | Add SAS 3.5" SSD - Western Digital Ultrastar DC HC530 Series in "SAS HDD".
2018-11-13 | 201812 | Add SATA 2.5" SSD - Seagate Nytro 1351 SATA SSD Series in "SATA SSD".
2018-11-09 | 201812 | Add SAS 2.5" SSD - Seagate Nytro 3330 SAS SSD Series in "SAS SSD".
2018-10-30 | 201811 | Add SAS 3.5" HDD - Western Digital (HGST) Ultrastar DC HC320 (7K8) Series in "SAS HDD". Add SAS 2.5" SSD - Western Digital (HGST) Ultrastar DC SS530 Series in "SAS SSD". Rename HGST to Western Digital (HGST) in "SAS HDD" & "SAS HDD". Rename SAS 3.5" HDD - Western Digital (HGST) Ultrastar DC HC520 (He12) Series in "SAS HDD". Rename SAS 3.5" HDD - Western Digital (HGST) Ultrastar DC HC510 (He10) Series in "SAS HDD". Update SAS 2.5" HDD - Toshiba AL14SXB**E* Series in "SAS HDD".
2018-09-28 | 201810 | Move SAS 2.5" HDD - HGST Ultrastar C10K900 Series to Legacy in "SAS HDD". Move SAS 2.5" SSD - Micron S600DC Series to Legacy in "SAS SSD". Move SAS 2.5" SSD - Toshiba PX04SMB*** Series to Legacy in "SAS SSD". Move SAS 2.5" SSD - Toshiba PX04SVB*** Series to Legacy in "SAS SSD". Move SATA 2.5" SSD - Intel DC S3510 Series to Legacy in "SATA SSD". Move SATA 2.5" SSD - Intel DC S3710 Series to Legacy in "SATA SSD". Move SATA 2.5" SSD - Micron M510DC Series to Legacy in "SATA SSD". Move SATA 2.5" SSD - Micron 5100 PRO Series to Legacy in "SATA SSD".
2018-08-24 | 201809 | Add FC HBA - Cavium (QLogic) 2690 Series in "FC HBA".
2018-07-30 | 201808 | Add SAS 3.5" HDD - Seagate Exos X12 Series in "SAS HDD".
2018-07-10 | 201808 | Add SAS 2.5" SSD - Seagate Nytro 3530 SAS SSD Series in "SAS SSD".
2018-07-11 | 201808 | Add SAS 2.5" SSD - Toshiba PX05SMB*** Series in "SAS SSD".
2018-06-29 | 201807 | Add XCubeFAS XF2026 Series in "FC HBA", "iSCSI HBA", "Switch", "UPS". Add 16Gb FC Switch - Broadcom Brocade 6510 Switch in "Switch".
2018-06-21 | 201807 | Add SAS 3.5" HDD - Seagate Exos 7E8 (SED) Series in "SAS SSD".
2018-06-04 | 201806 | Add XCubeFAS XF2026 Series in "SAS SSD". Rename SAS 3.5" HDD - HGST Ultrastar DC HC310 (7K6) Series in "SAS HDD".
2018-05-02 | 201805 | Add SAS 3.5" HDD - HGST Ultrastar 7K6 Series in "SAS HDD".
2018-04-20 | 201805 | Add 1GbE/10GbE Switch - i3 i3 International S242 in "Switch" .
2018-04-18 | 201805 | Add XCubeSAN XS5200, XS3200, XS1200 VMware ESXi 6.7 certification for iSCSI in "Certification".
2018-04-16 | 201805 | Add SAS 2.5" HDD - Toshiba AL14SXB**E* Series in "SAS HDD". Add SAS 2.5" HDD - Toshiba AL15SEB**E* Series in "SAS HDD".
2018-03-28 | 201804 | Remove hidden columns in order to avoid misunderstanding.
2018-03-14 | 201804 | Add SAS 2.5" SSD - Seagate Nytro 1200.2 SSD Series in "SAS SSD". Update SAS 2.5" SSD - HGST Ultrastar SSD800MH.B Series to Legacy in "SAS SSD". Move SAS 2.5" SSD - HGST Ultrastar SSD800MH.B Series to Legacy in "SAS SSD". Move SAS 2.5" SDD - HGST Ultrastar SSD1600MR Series to Legacy in "SAS SSD".
2018-02-08 | 201803 | Add SAS 2.5" SSD - Samsung PM1633a Series in "SAS SSD".
2018-02-05 | 201803 | Add XCubeSAN XS1200 VMware ESXi 6.5 & 6.5 U1 certification for FC in "Certification".
2018-01-26 | 201802 | Add SAS 2.5" HDD - Seagate Exos 10E2400 Series in "SAS HDD". Move SAS 2.5" HDD - Seagate Enterprise Performance 15K HDD 15K.5 Series to Legacy in "SAS HDD". Move SAS 2.5" HDD - Seagate Savvio 15K.3 Series to Legacy in "SAS HDD". Move SAS 2.5" HDD - Seagate Enterprise Performance 10K HDD 10K.8 Series to Legacy in "SAS HDD". Add XCubeSAN XS5200 Veeam HCL in "Certification".
2018-01-23 | 201802 | Add XCubeSAN XS1200 VMware ESXi 6.5 & 6.5 U1 certification for iSCSI in "Certification".
2018-01-02 | 201801 | Move SAS 3.5" HDD - Seagate Enterprise Capacity 3.5 HDD V.4 Series to Legacy in "SAS HDD".
2017-12-13 | 201801 | Add SAS 3.5" HDD - HGST Ultrastar He12 Series in "SAS HDD". Move SAS 3.5" HDD - HGST Ultrastar He8 Series to Legacy in "SAS HDD".
2017-12-01 | 201712 | Add XCubeSAN XS3200 Veeam HCL in "Certification".
2017-11-29 | 201712 | Add SAS 3.5" HDD - HGST Ultrastar 7K6000 Series in "SAS HDD". Move SAS 3.5" HDD - HGST Ultrastar 7K4000 to Legacy in "SAS HDD".
2017-11-28 | 201712 | Separate XCubeSAN & XCubeDAS Compatibility Matrix.

## U.2 SSD
XCubeFAS
Comment: V: Test with the FW version X: Not recommend /: Not suitable Green font color: Revision content of the current version | [9 empty] | XF3126
FF | Brand | Series | Model | Capacity | Interface | Type | FW | Comment | Date | SFF
U.2 Dual Port 2.5" SSD
2.5 | Western Digital (HGST) | Ultrastar DC SN840 | WUS4C6464DSP3X3 WUS4C6432DSP3X3 WUS4C6416DSP3X3 | 6.4TB 3.2TB 1.6TB | PCIe 3.1 1x4 or 2x2 NVMe 1.3c | 3D TLC |  | 3 DWPD, ISE | 2020-12-07 | V (FW 2.0.1)
2.5 | Western Digital (HGST) | Ultrastar DC SN840 | WUS4C6464DSP3X1 WUS4C6432DSP3X1 WUS4C6416DSP3X1 | 6.4TB 3.2TB 1.6TB | PCIe 3.1 1x4 or 2x2 NVMe 1.3c | 3D TLC |  | 3 DWPD, SE | 2020-12-07 | V (FW 2.0.1)
2.5 | Western Digital (HGST) | Ultrastar DC SN840 | WUS4BA1A1DSP3X3 WUS4BA176DSP3X3 WUS4BA138DSP3X3 WUS4BA119DSP3X3 | 15.36TB 7.68TB 3.84TB 1.92TB | PCIe 3.1 1x4 or 2x2 NVMe 1.3c | 3D TLC |  | 1 DWPD, ISE | 2020-12-07 | V (FW 2.0.1)
2.5 | Western Digital (HGST) | Ultrastar DC SN840 | WUS4BA1A1DSP3X1 WUS4BA176DSP3X1 WUS4BA138DSP3X1 WUS4BA119DSP3X1 | 15.36TB 7.68TB 3.84TB 1.92TB | PCIe 3.1 1x4 or 2x2 NVMe 1.3c | 3D TLC |  | 1 DWPD, SE | 2020-12-07 | V (FW 2.0.1)
2.5 | Micron | 7300 PRO | MTFDHBE7T6TDF-1AW1ZABYY MTFDHBE3T8TDF-1AW1ZABYY MTFDHBE1T9TDF-1AW1ZABYY MTFDHBE960TDF-1AW1ZABYY | 7.68TB 3.84TB 1.92TB 960GB | PCIe 3.0 2x2 NVMe | 3D TLC | 95420100 | 1 DWPD (Read Intensive) | 2020-10-05 | V (FW 2.0.0)
2.5 | Micron | 7300 MAX | MTFDHBE6T4TDG-1AW4ZAB MTFDHBE3T2TDG-1AW4ZAB MTFDHBE1T6TDG-1AW4ZAB MTFDHBE800TDG-1AW4ZAB | 6.4TB 3.2TB 1.6TB 800GB | PCIe 3.0 2x2 NVMe | 3D TLC | 95420100 | 3 DWPD (Mixed-Use) | 2020-10-05 | V (FW 2.0.0)
2.5 | KIOXIA (Toshiba) | CM5-R Series KCM51RUG**** Series | KCM51RUG15T3 KCM51RUG7T68 KCM51RUG3T84 KCM51RUG1T92 KCM51RUG960G | 15.36TB 7.68TB 3.84TB 1.92TB 960GB | 32 GT/s (Gen3 x 4) NVMe™ 1.3a | BiCS FLASH™ TLC | 0109 | 1 DWPD (Enterprise Read Intensive SSD) | 2020-10-05 | V (FW 2.0.0)
2.5 | Samsung | PM1733 | MZWLJ15THALA MZWLJ7T6HALA MZWLJ3T8HBLS MZWLJ1T9HBJR | 15.36TB 7.68TB 3.84TB 1.92TB | PCIe 3/4 x 4 or 2x2 NVMe 1.3 | Samsung V-NAND |  | Only compatible with PCIe 3 x 4 or 2x2, 1 DWPD | 2021-03-23 | V (FW 2.0.1)
Legacy U.2 Dual Port 2.5" SSD
2.5 | Western Digital (HGST) | Ultrastar DC SN200 | HUSMR7664BDP301 HUSMR7632BDP301 HUSMR7616BDP301 HUSMR7680BDP301 | 6.4TB 3.2TB 1.6TB 800GB | PCIe 3.0 2x2 NVMe 1.2 | 15nm MLC | D110 | 3 DWPD | 2020-10-05 | V (FW 2.0.0)

## SAS SSD
[10 empty] | XCubeFAS | XCubeSAN |  | XCubeDAS
Comment: V: Test with the FW version X: Not recommend /: Not suitable Green font color: Revision content of the current version | [9 empty] | XF2026 | XS5224 XS5216 XS5212 XS3224 XS3216 XS3212 XS1224 XS1216 XS1212 | XS5226 XS3226 XS1226 | XD5324 XD5316 XD5312 | XD5326
FF | Brand | Series | Model | Capacity | Interface | Type | FW | Comment | Date | SFF | LFF | SFF | LFF | SFF
SAS 2.5" SSD
2.5 | KIOXIA (Toshiba) | PM6-M Series KPM61MUG**** Series | KPM51MUG3T20 KPM51MUG1T60 KPM51MUG800G KPM51MUG400G | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | BiCS FLASH™ TLC | 0107 | 10 DWPD (Enterprise Write Intensive SSD) | 2019/6/13 | V (FW 1.1.1) | V (FW 1.4.0) | V (FW 1.4.0) | V (FW 1.0.2) | V (FW 1.0.2)
2.5 | KIOXIA (Toshiba) | PM6-V Series KPM61VUG**** Series | KPM51VUG6T40 KPM51VUG3T20 KPM51VUG1T60 KPM51VUG800G KPM51VUG400G | 6.4TB 3.2TB 1.6TB 800GB 400GB | 12Gb/s | BiCS FLASH™ TLC | 0107 | 3 DWPD (Enterprise Mixed Use SSD) | 2019-06-13 | V (FW 1.1.1) | V (FW 1.4.0) | V (FW 1.4.0) | V (FW 1.0.2) | V (FW 1.0.2)
2.5 | KIOXIA (Toshiba) | PM6-RI Series KPM61RUG**** Series | KPM61RUG30T7 KPM61RUG15T3 KPM61RUG7T68 KPM61RUG3T84 KPM61RUG1T92 KPM61RUG960G | 30.72TB 15.36TB 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | BiCS FLASH™ TLC | 0107 | 1 DWPD (Enterprise Read Intensive SSD) | 2019/5/27 2019/6/13 | V (FW 1.1.1) | V (FW 1.4.0) | V (FW 1.4.0) | V (FW 1.0.2) | V (FW 1.0.2)
2.5 | KIOXIA (Toshiba) | PM5-M Series KPM51MUG**** Series | KPM51MUG3T20 KPM51MUG1T60 KPM51MUG800G KPM51MUG400G | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | BiCS FLASH™ TLC | 0107 | 10 DWPD (Enterprise Write Intensive SSD) | 2019/6/13 | V (FW 1.1.1) | V (FW 1.4.0) | V (FW 1.4.0) | V (FW 1.0.2) | V (FW 1.0.2)
2.5 | KIOXIA (Toshiba) | PM5-V Series KPM51VUG**** Series | KPM51VUG6T40 KPM51VUG3T20 KPM51VUG1T60 KPM51VUG800G KPM51VUG400G | 6.4TB 3.2TB 1.6TB 800GB 400GB | 12Gb/s | BiCS FLASH™ TLC | 0107 | 3 DWPD (Enterprise Mixed Use SSD) | 2019-06-13 | V (FW 1.1.1) | V (FW 1.4.0) | V (FW 1.4.0) | V (FW 1.0.2) | V (FW 1.0.2)
2.5 | KIOXIA (Toshiba) | PM5-R Series KPM51RUG**** Series | KPM51RUG15T3 KPM51RUG7T68 KPM51RUG3T84 KPM51RUG1T92 KPM51RUG960G KPM51RUG480G | 15.36TB 7.68TB 3.84TB 1.92TB 960GB 480GB | 12Gb/s | BiCS FLASH™ TLC | 0107 | 1 DWPD (Enterprise Read Intensive SSD) | 2019/5/27 2019/6/13 | V (FW 1.1.1) | V (FW 1.4.0) | V (FW 1.4.0) | V (FW 1.0.2) | V (FW 1.0.2)
2.5 | KIOXIA (Toshiba) | PM5-R Series KPM5XRUG**** Series | KPM5XRUG15T3 KPM5XRUG7T68 KPM5XRUG3T84 KPM5XRUG1T92 KPM5XRUG960G KPM5XRUG480G | 15.36TB 7.68TB 3.84TB 1.92TB 960GB 480GB | 12Gb/s | BiCS FLASH™ TLC | 0107 | 1 DWPD, SIE (Enterprise Read Intensive SSD) | 2019-05-27 | V (FW 1.1.1)
2.5 | KIOXIA (Toshiba) | PM5-R Series KPM5VRUG**** Series | KPM5VRUG15T3 KPM5VRUG7T68 KPM5VRUG3T84 KPM5VRUG1T92 KPM5VRUG960G KPM5VRUG480G | 15.36TB 7.68TB 3.84TB 1.92TB 960GB 480GB | 12Gb/s | BiCS FLASH™ TLC | 0107 | 1 DWPD, SED (Enterprise Read Intensive SSD) | 2019-05-27 | V (FW 1.1.1)
2.5 | KIOXIA (Toshiba) | PM5-R Series KPM5WRUG**** Series | KPM5WRUG15T3 KPM5WRUG7T68 KPM5WRUG3T84 KPM5WRUG1T92 KPM5WRUG960G KPM5WRUG480G | 15.36TB 7.68TB 3.84TB 1.92TB 960GB 480GB | 12Gb/s | BiCS FLASH™ TLC | 0107 | 1 DWPD, SED FIPS (Enterprise Read Intensive SSD) | 2019-05-27 | V (FW 1.1.1)
2.5 | KIOXIA (Toshiba) | PX05SMB*** Series | PX05SMB320 PX05SMB160 PX05SMB080 PX05SMB040 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | MLC | 0101 | 10 DWPD (Enterprise Write Intensive SSD) | 2018-07-11 | V (FW 1.1.1) | V (FW 1.3.2) | V (FW 1.3.2) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | Samsung | PM1643a | MZILT15THALA MZILT7T6HALA MZILT3T8HBLS MZILT1T9HBJR MZILT960HBHQ | 15.36TB 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | TLC | DSF8 | 1 DWPD Qualified by authorized partner | 2020-10-29 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Samsung | PM1643 | MZILT15THMLA MZILT7T6HMLA MZILT3T8HALS MZILT1T9HAJQ MZILT960HAHQ | 15.36TB 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | TLC | GXF2 | 1 DWPD Qualified by authorized partner | 2019-05-31 | V (FW 1.1.1) | V (FW 1.4.0) | V (FW 1.4.0) | V (FW 1.0.2) | V (FW 1.0.2)
2.5 | Seagate | Nytro 3732 SAS SSD | XS3200ME70114 XS1600ME70114 XS800ME70114 XS400ME70114 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | 3D eTLC | 0101 | 10 DWPD, ISE (Write Intensive) | 2021-01-07 | V (FW 1.1.1) | V (FW 1.4.6) | V (FW 1.4.6) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3732 SAS SSD | XS3200ME70104 XS1600ME70104 | 3.2TB 1.6TB | 12Gb/s | 3D eTLC | 0101 | 10 DWPD, FIPS 140-2/Common Criteria Mode (Write Intensive) | 2021-01-07 | V (FW 1.1.1) | V (FW 1.4.6) | V (FW 1.4.6) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3732 SAS SSD | XS3200ME70094 XS1600ME70094 XS800ME70094 XS400ME70094 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | 3D eTLC | 0101 | 10 DWPD, SED (Write Intensive) | 2021-01-07 | V (FW 1.1.1) | V (FW 1.4.6) | V (FW 1.4.6) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3732 SAS SSD | XS3200ME70084 XS1600ME70084 XS800ME70084 XS400ME70084 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | 3D eTLC | 0101 | 10 DWPD (Write Intensive) | 2020-09-03 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3532 SAS SSD | XS6400LE70114 XS3200LE70114 XS1600LE70114 XS800LE70114 | 6.4TB 3.2TB 1.6TB 800GB | 12Gb/s | 3D eTLC | 0101 | 3 DWPD, ISE (Mixed Use) | 2021-01-07 | V (FW 1.1.1) | V (FW 1.4.6) | V (FW 1.4.6) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3532 SAS SSD | XS3200LE70104 XS1600LE70104 XS800LE70104 | 3.2TB 1.6TB 800GB | 12Gb/s | 3D eTLC | 0101 | 3 DWPD, FIPS 140-2/Common Criteria Mode (Mixed Use) | 2021-01-07 | V (FW 1.1.1) | V (FW 1.4.6) | V (FW 1.4.6) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3532 SAS SSD | XS6400LE70094 XS3200LE70094 XS1600LE70094 XS800LE70094 | 6.4TB 3.2TB 1.6TB 800GB | 12Gb/s | 3D eTLC | 0101 | 3 DWPD, SED (Mixed Use) | 2021-01-07 | V (FW 1.1.1) | V (FW 1.4.6) | V (FW 1.4.6) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3532 SAS SSD | XS6400LE70084 XS3200LE70084 XS1600LE70084 XS800LE70084 | 6.4TB 3.2TB 1.6TB 800GB | 12Gb/s | 3D eTLC | 0101 | 3 DWPD (Mixed Use) | 2020-09-03 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3332 SAS SSD | XS15360SE70114 XS7680SE70114 XS3840SE70114 XS1920SE70114 XS960SE70114 | 15.36TB 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0101 | 1 DWPD (Scaled Endurance) | 2021-01-07 | V (FW 1.1.1) | V (FW 1.4.6) | V (FW 1.4.6) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3332 SAS SSD | XS15360SE70104 XS7680SE70104 XS3840SE70104 XS1920SE70104 XS960SE70104 | 15.36TB 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0101 | 1 DWPD, FIPS 140-2/Common Criteria Mode (Scaled Endurance) | 2021-01-07 | V (FW 1.1.1) | V (FW 1.4.6) | V (FW 1.4.6) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3332 SAS SSD | XS15360SE70094 XS7680SE70094 XS3840SE70094 XS1920SE70094 XS960SE70094 | 15.36TB 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0101 | 1 DWPD, SED (Scaled Endurance) | 2021-01-07 | V (FW 1.1.1) | V (FW 1.4.6) | V (FW 1.4.6) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3332 SAS SSD | XS15360SE70084 XS7680SE70084 XS3840SE70084 XS1920SE70084 XS960SE70084 | 15.36TB 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0101 | 1 DWPD (Scaled Endurance) | 2020-09-03 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3332 SAS SSD | XS15360SE70084 XS7680SE70084 XS3840SE70084 XS1920SE70084 XS960SE70084 | 15.36TB 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0101 | 1 DWPD (Scaled Endurance) | 2020-09-03 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 2532 SAS SSD | XS3840LE70154 XS1920LE70154 XS960LE70154 | 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0001 | 3 DWPD, ISE (Mixed Workloads) | 2020-09-28 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 2532 SAS SSD | XS3840LE70144 XS1920LE70144 XS960LE70144 | 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0001 | 3 DWPD, FIPS 140-2 (Mixed Workloads) | 2020-09-28 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 2532 SAS SSD | XS3840LE70134 XS1920LE70134 XS960LE70134 | 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0001 | 3 DWPD, SED (Mixed Workloads) | 2020-09-28 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 2532 SAS SSD | XS3840LE70124 XS1920LE70124 XS960LE70124 | 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0001 | 3 DWPD (Mixed Workloads) | 2020-09-28 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 2332 SAS SSD | XS7680SE70154 XS3840SE70154 XS1920SE70154 XS960SE70154 | 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0001 | 1 DWPD, ISE (Scaled Endurance) | 2020-09-03 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 2332 SAS SSD | XS7680SE70144 XS3840SE70144 XS1920SE70144 XS960SE70144 | 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0001 | 1 DWPD, FIPS 140-2 (Scaled Endurance) | 2020-09-03 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 2332 SAS SSD | XS7680SE70134 XS3840SE70134 XS1920SE70134 XS960SE70134 | 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0001 | 1 DWPD, SED (Scaled Endurance) | 2020-09-03 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 2332 SAS SSD | XS7680SE70124 XS3840SE70124 XS1920SE70124 XS960SE70124 | 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eTLC | 0001 | 1 DWPD (Scaled Endurance) | 2020-09-03 | V (FW 1.1.1) | V (FW 1.4.4) | V (FW 1.4.4) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3731 SAS SSD | XS3200ME70004 XS1600ME70004 XS800ME70004 XS400ME70004 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | 3D eMLC | 0002 0003 | 10 DWPD (Write Intensive) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3731 SAS SSD | XS3200ME70014 XS1600ME70014 XS800ME70014 XS400ME70014 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | 3D eMLC | 0002 0003 | 10 DWPD, SED (Write Intensive) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3731 SAS SSD | XS3200ME70024 XS1600ME70024 | 3.2TB 1.6TB | 12Gb/s | 3D eMLC | 0002 0003 | 10 DWPD, FIPS 140-2 (Write Intensive) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3531 SAS SSD | XS6400LE70004 XS3200LE70004 XS1600LE70004 XS800LE70004 | 6.4TB 3.2TB 1.6TB 800GB | 12Gb/s | 3D eMLC | 0002 0003 | 3 DWPD (Mixed Workloads) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3531 SAS SSD | XS6400LE70014 XS3200LE70014 XS1600LE70014 XS800LE70014 | 6.4TB 3.2TB 1.6TB 800GB | 12Gb/s | 3D eMLC | 0002 0003 | 3 DWPD, SED (Mixed Workloads) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3531 SAS SSD | XS3200LE70024 XS1600LE70024 XS800LE70024 | 3.2TB 1.6TB 800GB | 12Gb/s | 3D eMLC | 0002 0003 | 3 DWPD, FIPS-2 (Mixed Workloads) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3331 SAS SSD | XS7680SE70004 XS3840SE70004 XS1920SE70004 XS960SE70004 | 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eMLC | 0002 0003 | 1 DWPD (Scaled Endurance) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3331 SAS SSD | XS7680SE70014 XS3840SE70014 XS1920SE70014 XS960SE70014 | 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eMLC | 0002 0003 | 1 DWPD,SED (Scaled Endurance) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3331 SAS SSD | XS7680SE70024 XS3840SE70024 XS1920SE70024 XS960SE70024 | 7.68TB 3.84TB 1.92TB 960GB | 12Gb/s | 3D eMLC | 0002 0003 | 1 DWPD, FIPS 140-2 (Scaled Endurance) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3131 SAS SSD | XS15360TE70004 XS7680TE70004 XS3840TE70004 | 15.36TB 7.68TB 3.84TB | 12Gb/s | 3D eMLC | 0002 0003 | 0.7 DWPD (Read Intensive) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3131 SAS SSD | XS15360TE70014 XS7680TE70014 XS3840TE70014 | 15.36TB 7.68TB 3.84TB | 12Gb/s | 3D eMLC | 0002 0003 | 0.7 DWPD, SED (Read Intensive) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3131 SAS SSD | XS15360TE70024 | 15.36TB | 12Gb/s | 3D eMLC | 0002 0003 | 0.7 DWPD, FIPS-140-2 (Read Intensive) | 2019/5/27 2019/6/25 2019/7/29 | V (FW 1.1.1) | V (FW 1.4.1) | V (FW 1.4.1) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Seagate | Nytro 3530 SAS SSD | XS3200LE10003 XS1600LE10003 XS800LE10003 XS400LE10003 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | 3D eMLC | 0001 | 3 DWPD (Light Endurence) | 2018-07-10 | V (FW 1.1.1) | V (FW 1.3.2) | V (FW 1.3.2) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | Seagate | Nytro 3530 SAS SSD | XS3200LE10013 XS1600LE10013 XS800LE10013 XS400LE10013 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | 3D eMLC | 00101 | 3 DWPD, SED (Light Endurence) | 2019-12-04 | V (FW 1.1.1) | V (FW 1.4.3) | V (FW 1.4.3) | V (FW 1.0.3) | V (FW 1.0.3)
Legacy SAS 2.5" SSD
2.5 | Western Digital (HGST) | Ultrastar DC SS530 | WUSTM3232ASS204 WUSTM3216ASS204 WUSTM3280ASS204 WUSTM3240ASS204 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | MLC | C900 | 10 DWPD, No Encryption / Secure Erase | 2018-10-30 | V (FW 1.1.1) | V (FW 1.3.4) | V (FW 1.3.4) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | Western Digital (HGST) | Ultrastar DC SS530 | WUSTR6464ASS204 WUSTR6432ASS204 WUSTR6416ASS204 WUSTR6480ASS204 WUSTR6440ASS204 | 6.4TB 3.2TB 1.6TB 800GB 400GB | 12Gb/s | MLC | C900 | 3 DWPD, No Encryption / Secure Erase | 2019-11-25 | V (FW 1.1.1) | V (FW 1.4.2) | V (FW 1.4.2) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | Western Digital (HGST) | Ultrastar DC SS530 | WUSTR1515ASS204 WUSTR1576ASS204 WUSTR1538ASS204 WUSTR1519ASS204 WUSTR1596ASS204 WUSTR1548ASS204 | 15.36TB 7.68TB 3.84TB 1.92GB 960GB 480GB | 12Gb/s | MLC | C900 | 1 DWPD, No Encryption / Secure Erase | 2019-11-25 | V (FW 1.1.1) | V (FW 1.4.2) | V (FW 1.4.2) | V (FW 1.0.3) | V (FW 1.0.3)
2.5 | HGST | Ultrastar SSD800MH.B | HUSMH8080BSS200 HUSMH8040BSS200 HUSMH8020BSS200 HUSMH8010BSS200 | 800GB 400GB 200GB 100GB | 12Gb/s | MLC | D300 | 25 DWPD, ISE | 2016-05-03 |  | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | HGST | Ultrastar SSD800MH.B | HUSMH8080BSS205 HUSMH8040BSS205 HUSMH8020BSS205 HUSMH8010BSS205 | 800GB 400GB 200GB 100GB | 12Gb/s | MLC | D370 D300 | 25 DWPD, SED | 2018/3/14 2016/5/3 |  | V (FW 1.3.0) | V (FW 1.3.0) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | HGST | Ultrastar SSD1600MR | HUSMR1619ASS230 HUSMR1616ASS200 HUSMR1610ASS200 HUSMR1680ASS200 HUSMR1650ASS200 HUSMR1640ASS200 HUSMR1625ASS200 | 1.92TB 1.6TB 1TB 800GB 500GB 400GB 250GB | 12Gb/s | MLC | A2C0 | 3 DWPD Q500 2U12 is supported after shipment in Nov. 2016. | 2016/3/24 2016/7/29 2016/8/31 |  | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | HGST | Ultrastar SSD400M | HUSML4040ASS600 | 400GB | 6Gb/s | MLC | A294 |  | 2012-03-13
2.5 | Micron | S600DC Series S630DC | MTFDJAL3T8MBT MTFDJAL3T2MBT MTFDJAL1T9MBT MTFDJAL1T6MBT MTFDJAK960MBT MTFDJAK800MBT MTFDJAK480MBT MTFDJAK400MBT | 3.84TB 3.2TB 1.92TB 1.6TB 960GB 800GB 480GB 400GB | 12Gb/s | MLC | M013 | 2~3 DWPD Q500 2U12 is supported after shipment in Nov. 2016. | 2017-02-07 |  | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Samsung | PM1633a | MZILS15THMLS MZILS7T6HMLS MZILS3T8HMLH MZILS1T9HEJH MZILS960HEHP MZILS480HEGR | 15.36TB 7.68TB 3.84TB 1.92TB 960GB 480GB | 12Gb/s | TLC |  | 1 DWPD Qualified by Authorized partner for limited models | 2018-02-08 |  | V (FW 1.2.2) | V (FW 1.2.2) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | Seagate | Nytro 1200.2 SSD | ST3200FM0023 ST1600FM0003 ST800FM0173 ST400FM0233 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | eMLC | A105 | 10 DWPD (Mainstream Endurance) | 2015-08-31 |  | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Seagate | Nytro 1200.2 SSD | ST3200FM0033 ST1600FM0013 ST800FM0183 ST400FM0243 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | eMLC | A102 | 10 DWPD, SED (Mainstream Endurance) | 2015-08-31 |  | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Seagate | Nytro 1200.2 SSD | ST3840FM0003 ST3200FM0063 ST1920FM0003 ST1600FM0073 ST960FM0003 ST800FM0233 ST480FM0003 ST400FM0303 | 3.84TB 3.2TB 1.92TB 1.6TB 960GB 800GB 480GB 400GB | 12Gb/s | eMLC | 000 | 2~3 DWPD (Light Endurance) Qualified by authorized partner | 2018-03-14 |  | V (FW 1.3.0) | V (FW 1.3.0) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | Seagate | Nytro 1200.2 SSD | ST3840FM0023 ST3200FM0073 ST1920FM0023 ST1600FM0083 ST960FM0013 ST800FM0243 ST480FM0013 ST400FM0343 | 3.84TB 3.2TB 1.92TB 1.6TB 960GB 800GB 480GB 400GB | 12Gb/s | eMLC | A102 | 2~3 DWPD, SED (Light Endurance) | 2018-03-14 |  | V (FW 1.3.0) | V (FW 1.3.0) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | Seagate | 1200 SSD | ST800FM0043 ST400FM0053 ST200FM0053 | 800GB 400GB 200GB | 12Gb/s | MLC | 0006 | Q500 2U12 does not support. | 2015-07-29 |  | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Toshiba | PX04SMB*** Series | PX04SMB320 PX04SMB160 PX04SMB080 PX04SMB040 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | MLC | 0106 | 10 DWPD (Enterprise Write Intensive SSD) Q500 2U12 is supported after shipment in Nov. 2016. | 2016-10-03 |  | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Toshiba | PX04SVB*** Series | PX04SVB384 PX04SVB192 PX04SVB096 PX04SVB048 | 3.84TB 1.92TB 960GB 480GB | 12Gb/s | MLC |  | 3 DWPD (Enterprise Mixed Use SSD) Qualified by authorized partner | 2017-11-06 |  | V (FW 1.2.1) | V (FW 1.2.1) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | Western Digital (HGST) | Ultrastar SS300 | HUSMM3232ASS200 HUSMM3216ASS200 HUSMM3280ASS200 HUSMM3240ASS200 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | MLC | A100 | 10 DWPD, ISE | 2017-07-13 |  | V (FW 1.2.0) | V (FW 1.2.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Western Digital (HGST) | Ultrastar SS300 | HUSMR3232ASS200 HUSMR3216ASS200 HUSMR3280ASS200 HUSMR3240ASS200 | 3.2TB 1.6TB 800GB 400GB | 12Gb/s | MLC | A100 | 3 DWPD, ISE | 2017-07-13 |  | V (FW 1.2.0) | V (FW 1.2.0) | V (FW 1.0.0) | V (FW 1.0.0)

## SAS HDD
[10 empty] | XCubeSAN |  | XCubeDAS
Comment: V: Test with the FW version X: Not recommend /: Not suitable Green font color: Revision content of the current version | [9 empty] | XS5224 XS5216 XS5212 XS3224 XS3216 XS3212 XS1224 XS1216 XS1212 | XS5226 XS3226 XS1226 | XD5324 XD5316 XD5312 | XD5326
FF | Brand | Series | Model | Capacity | RPM | Interface | FW | Comment | Date | LFF | SFF | LFF | SFF
SAS 3.5" HDD
3.5 | Seagate | Exos X16 | ST16000NM002G ST14000NM002G ST12000NM002G ST10000NM002G | 16TB 14TB 12TB 10TB | 7200 | 12Gb/s | E001 | 512e/4Kn | 2019-07-03 | V (FW 1.4.1) | / | V (FW 1.0.3) | /
3.5 | Seagate | Exos X12 | ST12000NM0027 | 12TB | 7200 | 12Gb/s | E002 | 512e/4Kn | 2018-07-30 | V (FW 1.3.2) | / | V (FW 1.0.1) | /
3.5 | Seagate | Exos X10 | ST10000NM0096 ST8000NM0156 | 10TB 8TB | 7200 | 12Gb/s | E002 | 512e | 2017-11-06 | V (FW 1.2.1) | / | V (FW 1.0.0) | /
3.5 | Seagate | Exos X10 | ST10000NM0216 | 10TB | 7200 | 12Gb/s | E002 | 512e, SED | 2020-12-07 | V (FW 1.4.6) | / | V (FW 1.0.3) | /
3.5 | Seagate | Exos X10 | ST10000NM0206 ST10000NM0226 | 10TB 10TB | 7200 | 12Gb/s | E002 | 4Kn 4Kn, SED | 2020-12-07 | V (FW 1.4.6) | / | V (FW 1.0.3) | /
3.5 | Seagate | Exos 7E8 | ST8000NM006A ST4000NM011A | 8TB 4TB | 7200 | 12Gb/s | ET02 | 512e, SED | 2020-02-24 | V (FW 1.4.3) | / | V (FW 1.0.3) | /
3.5 | Seagate | Exos 7E8 | ST6000NM003A ST4000NM003A ST3000NM001A ST2000NM003A ST1000NM001A | 8TB 6TB 4TB 2TB 1TB | 7200 | 12Gb/s | E002 | 512n | 2020-10-30 | V (FW 1.4.4) | / | V (FW 1.0.3) | /
3.5 | Seagate | Exos 7E8 | ST8000NM001A ST6000NM029A ST4000NM005A ST2000NM004A | 8TB 6TB 4TB 2TB | 7200 | 12Gb/s | E001 E002 | 512e/4Kn | 2019/7/3 2019/12/24 | V (FW 1.4.1) V (FW 1.4.3) | / | V (FW 1.0.3) | /
3.5 | Toshiba | MG08xxxxxE Series | MG08SCA16TE | 16TB | 7200 | 12Gb/s | 0101 | 512e | 2020-11-23 | V (FW 1.4.6) | / | V (FW 1.0.3) | /
3.5 | Toshiba | MG08xxxxxE Series | MG08SCP16TE | 16TB | 7200 | 12Gb/s | 0101 | 512e, SED | 2020-11-23 | V (FW 1.4.6) | / | V (FW 1.0.3) | /
3.5 | Toshiba | MG08xxxxxA Series | MG08SCA16TA | 16TB | 7200 | 12Gb/s | 0101 | 4Kn | 2020-11-23 | V (FW 1.4.6) | / | V (FW 1.0.3) | /
3.5 | Toshiba | MG08xxxxxA Series | MG08SCP16TA | 16TB | 7200 | 12Gb/s | 0101 | 4Kn, SED | 2020-11-23 | V (FW 1.4.6) | / | V (FW 1.0.3) | /
3.5 | Toshiba | MG06xxxxxE Series | MG06SCA10TE MG06SCP800E MG06SCP600E | 10TB 8TB 6TB | 7200 | 12Gb/s | 0104 | 512e | 2020-11-23 | V (FW 1.4.6) | / | V (FW 1.0.3) | /
3.5 | Toshiba | MG06xxxxxEY Series | MG06SCA10TEY MG06SCP800EY MG06SCP600EY | 10TB 8TB 6TB | 7200 | 12Gb/s | 0104 | 512e, SIE | 2020-11-23 | V (FW 1.4.6) | / | V (FW 1.0.3) | /
3.5 | Toshiba | MG06xxxxxA Series | MG06SCA10TA MG06SCA800A MG06SCA600A | 10TB 8TB 6TB | 7200 | 12Gb/s | 0104 | 4Kn | 2020-11-23 | V (FW 1.4.6) | / | V (FW 1.0.3) | /
3.5 | Toshiba | MG06xxxxxAY Series | MG06SCA10TAY MG06SCA800AY MG06SCA600AY | 10TB 8TB 6TB | 7200 | 12Gb/s | 0104 | 4Kn, SIE | 2020-11-23 | V (FW 1.4.6) | / | V (FW 1.0.3) | /
3.5 | Toshiba | MG07SCA**** Series | MG07SCA14TE MG07SCA12TE | 14TB 12TB | 7200 | 12Gb/s | 0102 | 512e | 2019-04-30 | V (FW 1.3.6) | / | V (FW 1.0.2) | /
3.5 | Toshiba | MG04SCA**E* Series | MG04SCA60EE MG04SCA50EE MG04SCA40EE MG04SCA20EE | 6TB 5TB 4TB 2TB | 7200 | 12Gb/s | 0103 | 512e | 2017-05-18 | V (FW 1.1.1) | / | V (FW 1.0.0) | /
3.5 | Toshiba | MG04SCA**0* Series | MG04SCA500E MG04SCA400E MG04SCA300E MG04SCA200E | 5TB 4TB 3TB 2TB | 7200 | 6Gb/s | 0102 0103 | 512e FW 0102 has some minor bugs, suggest to upgrade FW 0103 | 2014/9/30 2015/1/28 | V (FW 1.0.0) | / | V (FW 1.0.0) | /
3.5 | Toshiba | MG03SCA*** Series | MG03SCA400 MG03SCA300 MG03SCA200 MG03SCA100 | 4TB 3TB 2TB 1TB | 7200 | 6Gb/s | 1001 | 512n | 2013-06-25 | V (FW 1.0.0) | / | V (FW 1.0.0) | /
3.5 | Western Digital | Ultrastar DC HC550 | WUH721816AL5204 | 16TB | 7200 | 12Gb/s | 120 | 512e/4Kn | 2020-09-01 | V (FW 1.4.4) | / | V (FW 1.0.3) | /
3.5 | Western Digital | Ultrastar DC HC530 | WUH721414AL5204 | 14TB | 7200 | 12Gb/s | 07A | 512e, SE, Helium HDD | 2018-11-16 | V (FW 1.3.4) | / | V (FW 1.0.1) | /
3.5 | Western Digital (HGST) | Ultrastar DC HC520 (He12) | HUH721212AL5200 | 12TB | 7200 | 12Gb/s | 3D0 | 512e, ISE, Helium HDD | 2017-12-13 | V (FW 1.2.2) | / | V (FW 1.0.1) | /
3.5 | Western Digital (HGST) | Ultrastar DC HC520 (He12) | HUH721212AL5204 | 12TB | 7200 | 12Gb/s | C3D0 | 512e, SE, Helium HDD | 2020-10-08 | V (FW 1.4.4) |  | V (FW 1.0.3)
3.5 | Western Digital (HGST) | Ultrastar DC HC510 (He10) | HUH721010AL5200 HUH721008AL5200 | 10TB 8TB | 7200 | 12Gb/s | A21D | 512e, ISE, Helium HDD | 2016-07-29 | V (FW 1.0.0) | / | V (FW 1.0.0) | /
3.5 | Western Digital (HGST) | Ultrastar DC HC330 | WUS721010AL5204 | 10TB | 7200 | 12Gb/s | 920 | 512e/4Kn, SE | 2020-03-02 | V (FW 1.4.3) |  | V (FW 1.0.3)
3.5 | Western Digital (HGST) | Ultrastar DC HC320 (7K8) | HUS728T8TAL5204 | 8TB | 7200 | 12Gb/s | 410 | 512e, SE | 2018-10-30 | V (FW 1.3.4) | / | V (FW 1.0.1) | /
3.5 | Western Digital (HGST) | Ultrastar DC HC310 (7K6) | HUS726T6TAL5204 HUS726T4TAL5204 | 6TB 4TB | 7200 | 12Gb/s | 40H | 512e, SE | 2018-05-02 | V (FW 1.3.0) | / | V (FW 1.0.1) | /
SAS 2.5" HDD
2.5 | Seagate | Exos 10E2400 | ST2400MM0129 ST1800MM0129 ST1200MM0129 ST600MM0099 | 2.4TB 1.8TB 1.2TB 600GB | 10000 | 12Gb/s | C003 | 512e/4Kn | 2018-01-26 | V (FW 1.2.2) | V (FW 1.2.2) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | Seagate | Exos 7E2000 Enterprise Capacity 2.5 HDD V.3 | ST2000NX0273 ST1000NX0333 | 2TB 1TB | 7200 | 12Gb/s | E002 | 512e | 2016-10-03 | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Seagate | Exos 15E900 | ST900MP0146 ST600MP0136 ST300MP0106 | 900GB 600GB 300GB | 15000 | 12Gb/s | C003 | 512e/4Kn | 2018-11-23 | V (FW 1.3.4) | V (FW 1.3.4) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | Toshiba | AL14SXB**E* Series | AL14SXB90EE AL14SXB60EE AL14SXB30EE | 900GB 600GB 300GB | 15000 | 12Gb/s | 0101 0102 | 512e | 2018/4/16 2018/10/30 | V (FW 1.3.0) V (FW 1.3.4) | V (FW 1.3.0) V (FW 1.3.4) | V (FW 1.0.1) V (FW 1.0.1) | V (FW 1.0.1) V (FW 1.0.1)
2.5 | Toshiba | AL13SXB**E* Series | AL13SXB60EE AL13SXB45EE AL13SXB30EE | 600GB 450GB 300GB | 15000 | 12Gb/s | 0101 | 512e | 2017-05-18 | V (FW 1.1.1) | V (FW 1.1.1) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Toshiba | AL15SEB**E* Series | AL15SEB24EQ AL15SEB18EQ AL15SEB12EQ AL15SEB09EQ AL15SEB06EQ | 2.4TB 1.8TB 1.2TB 900GB 600GB | 10500 | 12Gb/s | 0102 | 512e | 2018-04-16 | V (FW 1.3.0) | V (FW 1.3.0) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | Toshiba | AL14SEB***N Series | AL14SEB120N AL14SEB090N AL14SEB060N AL14SEB045N AL14SEB030N | 1.2TB 900GB 600GB 450GB 300GB | 10500 | 12Gb/s | 0102 | 512n | 2015-08-26 | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
Legacy SAS 3.5" HDD
3.5 | HGST | Ultrastar He8 | HUH728080AL5200 HUH728060AL5200 | 8TB 6TB | 7200 | 12Gb/s | 515 | 512e, Helium HDD | 2015/3/27 2015/10/7 | V (FW 1.0.0) | / | V (FW 1.0.0) | /
3.5 | HGST | Ultrastar 7K4000 | HUS724040ALS640 HUS724030ALS640 HUS724020ALS640 | 4TB 3TB 2TB | 7200 | 6Gb/s | A152 | 512n | 2013/10/28 2013/11/28 | V (FW 1.0.0) | / | V (FW 1.0.0) | /
3.5 | Seagate | Exos X14 | ST14000NM0048 ST12000NM0038 ST10000NM0528 | 14TB 12TB 10TB | 7200 | 12Gb/s | E002 | 512e/4Kn | 2019-01-29 | V (FW 1.3.6) | / | V (FW 1.0.2) | /
3.5 | Seagate | Exos 7E8 Enterprise Capacity 3.5 HDD V.5 | ST8000NM0075 ST6000NM0095 ST4000NM0125 ST2000NM0135 | 8TB 6TB 4TB 2TB | 7200 | 12Gb/s | E002 | 512e | 2016/7/29 2016/8/31 2017/8/31 | V (FW 1.0.0) | / | V (FW 1.0.0) | /
3.5 | Seagate | Exos 7E8 Enterprise Capacity 3.5 HDD V.5 | ST8000NM0085 ST6000NM0195 ST4000NM0255 | 8TB 6TB 4TB | 7200 | 12Gb/s | ET04 | 512e, SED | 2018-06-21 | V (FW 1.3.2) | / | V (FW 1.0.1) | /
3.5 | Seagate | Exos 7E8 Enterprise Capacity 3.5 HDD V.5 | ST6000NM0245 ST4000NM0025 ST3000NM0025 ST2000NM0045 ST1000NM0045 | 6TB 4TB 3TB 2TB 1TB | 7200 | 12Gb/s |  | 512n | 2018-11-23 | V (FW 1.3.4) | / | V (FW 1.0.1) | /
3.5 | Seagate | Enterprise Capacity 3.5 HDD V.4 | ST6000NM0034 ST4000NM0034 ST2000NM0034 | 6TB 4TB 2TB | 7200 | 12Gb/s | E005 | 512e | 2016-10-03 | V (FW 1.0.0) | / | V (FW 1.0.0) | /
3.5 | Seagate | Enterprise Capacity 3.5 HDD V.4 | ST6000NM0054 ST4000NM0054 ST2000NM0054 | 6TB 4TB 2TB | 7200 | 12Gb/s | ET05 | 512e, SED | 2018-03-14 | V (FW 1.3.0) | / | V (FW 1.0.1) | /
3.5 | Seagate | Enterprise Capacity 3.5 HDD V.4 | ST6000NM0014 ST4000NM0014 ST2000NM0014 | 6TB 4TB 2TB | 7200 | 12Gb/s | K001 | 4Kn | 2015-03-27 | V (FW 1.0.0) | / | V (FW 1.0.0) | /
3.5 | Seagate | Enterprise Capacity 3.5 HDD Constellation ES.3 | ST4000NM0023 | 4TB | 7200 | 6Gb/s | 0001 0003 |  | 2013-10-28 | V (FW 1.0.0) |  | V (FW 1.0.0)
3.5 | Western Digital (HGST) | Ultrastar 7K6000 | HUS726060AL5210 HUS726050AL5210 HUS726040AL5210 HUS726020AL5210 | 6TB 5TB 4TB 2TB | 7200 | 12Gb/s | 519 | 512e, ISE | 2015/3/27 2015/10/7 | V (FW 1.0.0) | / | V (FW 1.0.0) | /
3.5 | Western Digital (HGST) | Ultrastar 7K6000 | HUS726060AL5214 HUS726050AL5214 HUS726040AL5214 HUS726020AL5214 | 6TB 5TB 4TB 2TB | 7200 | 12Gb/s | C907 | 512e, SE Qualified by Authorized partner for limited models | 2017-11-29 | V (FW 1.2.2) | / | V (FW 1.0.1) | /
Legacy SAS 2.5" HDD
2.5 | HGST | Ultrastar C10K900 | HUC109090CSS600 HUC109060CSS600 HUC109045CSS600 HUC109030CSS600 | 900GB 600GB 450GB 300GB | 10000 | 6Gb/s | A2D0 |  | 2013/3/27 2013/7/9 2014/5/30 | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Seagate | Enterprise Performance 15K HDD 15K.5 | ST600MX0052 ST300MM0012 | 600GB 300GB | 15000 | 12Gb/s | E004 | 512e, TurboBoost | 2016-10-03 | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Seagate | Enterprise Performance 15K HDD 15K.5 | ST600MX0062 ST300MM0022 | 600GB 300GB | 15000 | 12Gb/s | ET04 | 512e, TurboBoost, SED | 2018-03-14 | V (FW 1.3.0) | V (FW 1.3.0) | V (FW 1.0.1) | V (FW 1.0.1)
2.5 | Seagate | Enterprise Performance 15K HDD 15K.5 | ST600MP0005 ST300MP0005 | 600GB 300GB | 15000 | 12Gb/s | N003 | 512n | 2015-04-30 | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Seagate | Savvio 15K.3 | ST9300653SS ST9146853SS | 300GB 146GB | 15000 | 6Gb/s | 0002 |  | 2011-10-26 | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Seagate | Savvio 15K.2 | ST9146852SS ST973452SS | 147GB 73GB | 15000 | 6Gb/s | 0002 |  | 2009-04-21 | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Seagate | Enterprise Performance 10K HDD 10K.8 | ST1800MM0018 ST1200MM0018 ST900MM0018 ST600MM0018 | 1.8TB 1.2TB 900GB 600GB | 10000 | 12Gb/s | E004 | 512e | 2016-10-03 | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Seagate | Enterprise Performance 10K HDD 10K.7 | ST1200MM0007 | 1.2TB | 10000 | 6Gb/s | 0001 |  | 2013-11-29 | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Seagate | Savvio 10K.5 | ST9900805SS | 900GB | 10000 | 6Gb/s | 0001 |  | 2011-07-12
2.5 | Toshiba | AL14SEB**E*x Series | AL14SEB18EQ AL14SEB12EQ AL14SEB09EQ AL14SEB06EQ | 1.8TB 1.2GB 900GB 600GB | 10500 | 12Gb/s | 0101 | 512e Some HDDs have found PCB bending issue and are easily shorted to the HDD tray. | 2017/5/18 2019/7/29 | V (FW 1.1.1) | V (FW 1.1.1) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Western Digital (HGST) | Ultrastar C15K600 | HUC156060CS4200 HUC156045CS4200 HUC156030CS4200 | 600GB 450GB 300GB | 15000 | 12Gb/s | A703 | 4Kn/512e | 2016-03-22 | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)
2.5 | Western Digital (HGST) | Ultrastar C10K1800 | HUC101818CS4204 HUC101812CS4204 HUC101890CS4204 HUC101860CS4204 HUC101845CS4204 | 1.8TB 1.2TB 900GB 600GB 450GB | 10500 | 12Gb/s | 730 | 4Kn/512e | 2015/12/31 2016/1/30 | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0) | V (FW 1.0.0)

## SATA SSD
[10 empty] | XCubeFAS | XCubeSAN |  | XCubeDAS
Comment: V: Test with the FW version X: Not recommend /: Not suitable Green font color: Revision content of the current version Consumer SSD: Consumer SSD has shorter life. For continuous, recommend use enterprise SSD in high-workload environments. | [9 empty] | XF2026 | XS5224 XS5216 XS5212 XS3224 XS3216 XS3212 XS1224 XS1216 XS1212 | XS5226 XS3226 XS1226 | XD5324 XD5316 XD5312 | XD5326
FF | Brand | Series | Model | Capacity | Interface | Type | FW | Comment | Date | SFF | LFF | SFF | LFF | SFF
SATA 2.5" SSD
2.5 | Western Digital (HGST) | DC SA620 | SDLF1DAM-016T-1HA1 SDLF1DAM-800G-1HA1 SDLF1DAM-400G-1HA1 | 1.6TB 800GB 400GB | 6Gb/s | MLC |  | 1.8 DWPD | 2021-01-13 | V (FW 2.0.1 with 6G MUX board) | V (FW 1.4.6 with 6G MUX board) | V (FW 1.4.6 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Western Digital (HGST) | DC SA620 | SDLF1DAR-019T-1HA1 SDLF1DAR-960G-1HA1 SDLF1DAR-480G-1HA1 | 1.92TB 960GB 480GB | 6Gb/s | MLC |  | 0.6 DWPD | 2021-01-13 | / | V (FW 1.4.6 with 6G MUX board) | V (FW 1.4.6 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Western Digital (HGST) | PC SA530 | SDASB8Y-1T00 SDASB8Y-512G SDASB8Y-256G | 1TB 512GB 256GB | 6Gb/s | 3D TLC | 40103000 | 0.2 DWPD, Consumer SSD | 2020-03-02 | / | V (FW 1.4.4 with 6G MUX board) | V (FW 1.4.4 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | KIOXIA (Toshiba) | HK6-R Series | KHK61RSE7T68 KHK61RSE3T84 KHK61RSE1T92 KHK61RSE960G KHK61RSE480G | 7.68TB 3.84TB 1.92TB 960GB 480GB | 6Gb/s | BiCS FLASHTM TLC | 1DET6101 | 1 DWPD (Read Intensive SSD) | 2019-09-09 | / | V (FW 1.4.1, with 6G MUX board) | V (FW 1.4.1, with 6G MUX board) | V (FW 1.0.2, with 6G MUX board) | V (FW 1.0.2, with 6G MUX board)
2.5 | Micron | 5300 MAX | MTFDDAK3T8TDT-1AW16ABYY MTFDDAK1T9TDT-1AW16ABYY MTFDDAK960TDT-1AW16ABYY MTFDDAK480TDT-1AW16ABYY MTFDDAK240TDT-1AW16ABYY | 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | 3D TLC |  | 3.5 - 5 DWPD, SED(TCG Enterprise) | 2021-03-02 | V (FW 2.0.1 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Micron | 5300 MAX | MTFDDAK3T8TDT-1AW15ABYY MTFDDAK1T9TDT-1AW15ABYY MTFDDAK960TDT-1AW15ABYY MTFDDAK480TDT-1AW15ABYY MTFDDAK240TDT-1AW15ABYY | 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | 3D TLC |  | 3.5 - 5 DWPD, SED(TCG Opal) | 2021-03-02 | V (FW 2.0.1 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Micron | 5300 MAX | MTFDDAK3T8TDT-1AW1ZABYY MTFDDAK1T9TDT-1AW1ZABYY MTFDDAK960TDT-1AW1ZABYY MTFDDAK480TDT-1AW1ZABYY MTFDDAK240TDT-1AW1ZABYY | 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | 3D TLC |  | 3.5 - 5 DWPD | 2021-03-02 | V (FW 2.0.1 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Micron | 5300 PRO | MTFDDAK7T6TDS-1AW16ABYY MTFDDAK3T8TDS-1AW16ABYY MTFDDAK1T9TDS-1AW16ABYY MTFDDAK960TDS-1AW16ABYY MTFDDAK480TDS-1AW16ABYY MTFDDAK240TDS-1AW16ABYY | 7.68TB 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | 3D TLC |  | 0.6 - 1.5 DWPD, SED(TCG Enterprise) | 2021-03-02 | V (FW 2.0.1 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Micron | 5300 PRO | MTFDDAK7T6TDS-1AW15ABYY MTFDDAK3T8TDS-1AW15ABYY MTFDDAK1T9TDS-1AW15ABYY MTFDDAK960TDS-1AW15ABYY MTFDDAK480TDS-1AW15ABYY MTFDDAK240TDS-1AW15ABYY | 7.68TB 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | 3D TLC |  | 0.6 - 1.5 DWPD, SED(TCG Opal) | 2021-03-02 | V (FW 2.0.1 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Micron | 5300 PRO | MTFDDAK7T6TDS-1AW1ZABYY MTFDDAK3T8TDS-1AW1ZABYY MTFDDAK1T9TDS-1AW1ZABYY MTFDDAK960TDS-1AW1ZABYY MTFDDAK480TDS-1AW1ZABYY MTFDDAK240TDS-1AW1ZABYY | 7.68TB 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | 3D TLC |  | 0.6 - 1.5 DWPD | 2021-03-02 | V (FW 2.0.1 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Micron | 5210 ION Enterprise SATA QLC SSD | MTFDDAK7T6QDE MTFDDAK3T8QDE MTFDDAK1T9QDE | 7.68TB 3.84TB 1.92TB | 6Gb/s | QLC | D2MU000 | 0.05~0.8 DWPD | 2019-10-28 | V (FW 2.0.1 with 6G MUX board) | V (FW 1.4.2, with 6G MUX board) | V (FW 1.4.2, with 6G MUX board) | V (FW 1.0.2, with 6G MUX board) | V (FW 1.0.2, with 6G MUX board)
2.5 | Samsung | PM883 | SSDSC2KB076T801 SSDSC2KB038T801 SSDSC2KB019T801 SSDSC2KB960G801 SSDSC2KB480G801 SSDSC2KB240G801 | 7.68TB 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | 3D TLC | XCV10132 | 1 DWPD | 2021-02-17 | V (FW 2.0.1 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Samsung | SM883 | MZ7KH3T8HALS MZ7KH1T9HAJR MZ7KH960HAJR MZ7KH480HAHQ MZ7KH240HAHQ | 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | MLC 3D/V-NAND | HXM7004Q | 3 DWPD | 2020-04-06 | / | V (FW 1.4.4, with 6G MUX board) | V (FW 1.4.4, with 6G MUX board) | V (FW 1.0.3, with 6G MUX board) | V (FW 1.0.3, with 6G MUX board)
2.5 | Samsung | SM863a | MZ7KM240HMHQ MZ7KM480HMHQ MZ7KM960HMJP MZ7KM1T9HMJP | 1.92TB 960GB 480GB 240GB | 6Gb/s | MLC | GXM5104Q | 3.6 DWPD | 2017-07-10 | / | V (FW 1.2.0, with 6G MUX board) | V (FW 1.2.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board)
2.5 | SanDisk | CloudSpeed Eco Gen II | SDLF1CRR-019T-1HA1 SDLF1CRR-960G-1HA1 SDLF1CRR-480G-1HA1 | 1.92TB 960GB 480GB | 6Gb/s | MLC | ZR07 | 0.6 DWPD | 2017-07-26 | / | V (FW 1.2.0, with 6G MUX board) | V (FW 1.2.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board)
2.5 | Seagate | Nytro XF1551 | XA1920ME10103 XA960ME10103 XA480ME10103 | 1.92TB 960GB 480GB | 6Gb/s | 3D TLC | SF4400ZU | 3 DWPD, SED (TCG OPAL) | 2021-02-16 | V (FW 2.0.1 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Seagate | Nytro XF1551 | XA1920ME10083 XA960ME10083 XA480ME10083 | 1.92TB 960GB 480GB | 6Gb/s | 3D TLC | SF4400ZU | 3 DWPD, SED (TCG Enterprise) | 2021-02-16 | V (FW 2.0.1 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Seagate | Nytro XF1551 | XA3840ME10063 XA1920ME10063 XA960ME10063 XA480ME10063 XA240ME10003 | 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | 3D TLC | SF4400ZU | 3 DWPD (Mainstream Endurance) Qualified by authorized partner | 2019-05-07 | V (FW 2.0.1 with 6G MUX board) | V (FW 1.3.6, with 6G MUX board) | V (FW 1.3.6, with 6G MUX board) | V (FW 1.0.2, with 6G MUX board) | V (FW 1.0.2, with 6G MUX board)
2.5 | Seagate | Nytro XF1351 | XA1920LE10103 XA960LE10103 XA480LE10103 | 1.92TB 960GB 480GB | 6Gb/s | 3D TLC | SF4400ZU | 1 DWPD, SED (TCG OPAL) | 2021-02-16 | V (FW 2.0.1 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Seagate | Nytro XF1351 | XA1920LE10083 XA960LE10083 XA480LE10083 | 1.92TB 960GB 480GB | 6Gb/s | 3D TLC | SF4400ZU | 1 DWPD, SED (TCG Enterprise) | 2021-02-16 | V (FW 2.0.1 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 2.0.0 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
2.5 | Seagate | Nytro XF1351 | XA3840LE10063 XA1920LE10063 XA960LE10063 XA480LE10063 XA240LE10003 | 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | 3D TLC | SF4400ZU | 1 DWPD (Light Endurance) | 2018-11-13 | V (FW 2.0.1 with 6G MUX board) | V (FW 1.3.4, with 6G MUX board) | V (FW 1.3.4, with 6G MUX board) | V (FW 1.0.1, with 6G MUX board) | V (FW 1.0.1, with 6G MUX board)
2.5 | Intel | D3-S4510 | MZ7LH7T6HMLA MZ7LH3T8HMLT MZ7LH1T9HMLT MZ7LH960HAJR MZ7LH480HAHQ MZ7LH240HAHQ | 7.68TB 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | 3D TLC | XCV10132 | 0.9 DWPD 1.4 DWPD 1.8 DWPD 1.9 DWPD 1.3 DWPD 1.9 DWPD | 2021-01-13 | V (FW 2.0.1 with 6G MUX board) | V (FW 1.4.6 with 6G MUX board) | V (FW 1.4.6 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board) | V (FW 1.0.3 with 6G MUX board)
Legacy SATA 2.5" SSD
2.5 | Crucial | MX200 SSD | CT1000MX200SSD1 CT500MX200SSD1 ST250MX200SSD1 | 1TB 500GB 250GB | 6Gb/s | MLC | MU02 |  | 2016-03-15 |  | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board)
2.5 | Intel | DC S3510 Series | SSDSC2BB016T6 SSDSC2BB012T6 SSDSC2BB800G6 SSDSC2BB480G6 SSDSC2BB240G6 SSDSC2BB120G6 SSDSC2BB080G6 | 1.6TB 1.2TB 800GB 480GB 240GB 120GB 80GB | 6Gb/s | MLC | G2010130 | The Performance is impacted by 6G MUX board. | 2015-09-21 |  | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board)
2.5 | Intel | DC S3710 Series | SSDSC2BA012T4 SSDSC2BA800G4 SSDSC2BA400G4 SSDSC2BA200G4 | 1.2TB 800GB 400GB 200GB | 6Gb/s | MLC | G2010110 | The Performance is impacted by 6G MUX board. | 2015-09-21 |  | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board)
2.5 | Intel | X25-M | SSDSA2M080G2GC | 80GB | 3Gb/s | MLC | 02HD |  | 2010-10-08
2.5 | Micron | M510DC | MTFDDAK960MBP-1AN1ZAB MTFDDAK800MBP-1AN1ZAB MTFDDAK480MBP-1AN1ZAB MTFDDAK240MBP-1AN1ZAB MTFDDAK120MBP-1AN1ZAB | 960GB 800GB 480GB 240GB 120GB | 6Gb/s | MLC | 0005 |  | 2015-12-10 |  | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board)
2.5 | Micron | 5100 Series SATA SSD 5100 PRO | MTFDDAK3T8TCB-1AR1ZAB MTFDDAK1T9TCB-1AR1ZAB MTFDDAK960TCB-1AR1ZAB MTFDDAK480TCB-1AR1ZAB MTFDDAK240TCB-1AR1ZAB | 3.84TB 1.92TB 960GB 480GB 240GB | 6Gb/s | 3D eTLC | D0MU027 | 1~3 DWPD | 2017-08-24 |  | V (FW 1.2.1, with 6G MUX board) | V (FW 1.2.1, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board)
2.5 | Samsung | SM863 | MZ-7KM1T9 MZ-7KM960 MZ-7KM480 MZ-7KM240 MZ-7KM120HAFD-00005 | 1.92TB 960GB 480GB 240GB 120GB | 6Gb/s | MLC | GXM1003Q | Some S.M.A.R.T. values cannot be detected. | 2016-03-15 |  | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board)
2.5 | Seagate | Nytro XF1230 SATA SSD | XF1230-1A1920 XF1230-1A0960 XF1230-1A0480 XF1230-1A0240 | 1.92TB 960GB 480GB 240GB | 6Gb/s | eMLC | ST200354 | 0.5~0.67 DWPD | 2017-08-20 |  | V (FW 1.2.1, with 6G MUX board) | V (FW 1.2.1, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board) | V (FW 1.0.0, with 6G MUX board)

## FC HBA
[10 empty] | XCubeFAS |  | XCubeSAN
Comment: V: Test with the FW version X: Not recommend Green font color: Revision content of the current version | [9 empty] | XF2026 (w/ 16/32 Gb FC SFP+/SPF28 Host Card) | XF3126 (w/ 16/32 Gb FC SFP+/SPF28 Host Card) | XS5200 XS3200 XS1200 (w/ 16/32 Gb FC SFP+/SPF28 Host Card)
Brand | Series | Model | Port | Bus Type | I/O | BIOS | FW | Comment | Date | FC | FC | FC
32Gb FC HBA
ATTO | Celerity | FC-324E FC-322E FC-321E | 4 2 1 | PCIe 3.0 x16 PCIe 3.0 x8 PCIe 3.0 x8 | 32Gb/s |  |  |  | 2020-11-19 | V (FW 1.2.1) | V (FW 2.0.0) | V (FW 1.4.6)
MARVELL (Qlogic) | 2740/2760 | QLE2764 QLE2742 QLE2740 | 4 2 1 | PCIe 3.1 x16 PCIe 3.1 x8 PCIe 3.1 x8 | 32Gb/s |  |  |  | 2020-11-19 | V (FW 1.2.1) | V (FW 2.0.0) | V (FW 1.4.6)
Broadcom (Emulex) | LPe32000 | LPe32004-M2-SIO LPe32002-M2 LPe32000-M2 | 4 2 1 | PCIe 3.1 x16 PCIe 3.1 x8 PCIe 3.1 x8 | 32Gb/s |  |  |  | 2020-11-26 | V (FW 1.2.1) | V (FW 2.0.0) | V (FW 1.4.6)
16Gb FC HBA
ATTO | Celerity | FC-164E FC-162E FC-161E | 4 2 1 | PCIe 3.0 x8 | 16Gb/s | 1.02 | 1.1.43.18 |  | 2014/8/14 2014/11/24 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
Broadcom (Emulex) | LightPulse | LPe16004 LPe16002B LPe16000B | 4 2 1 | PCIe 3.0 x8 | 16Gb/s | 6.01a3 | 1.1.21.8 | Point-to-Point mode only | 2014/8/14 2014/11/24 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
Cavium (Brocade) | 1800 | BR-1860 | 2 | PCIe 2.0 x8 | 16Gb/s |  | 3.2.3.0 |  | 2013-12-31 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
Cavium (QLogic) | 2690 | QLE2694 QLE2694L QLE2692 QLE2690 | 4 4 2 1 | PCIe 3.0 x8 | 16Gb/s | 01.01.83 | 9.2.9.20 |  | 2018-08-24 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.3.2)
Cavium (QLogic) | 2670 | QLE2672 QLE2670 | 2 1 | PCIe 3.0 x4 PCIe 2.0 x8 | 16Gb/s |  | 8.05.00.03.55.6-k |  | 2013/8/26 2013/10/2 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)

## iSCSI HBA
[10 empty] | XCubeFAS |  | XCubeSAN
Comment: V: Test with the FW version X: Not recommend Green font color: Revision content of the current version | [9 empty] | XF2026 (w/ 10/25 Gb iSCSI SFP+/SFP28 Host Card) | XF3126 (w/ 16/32 Gb FC SFP+/SPF28 Host Card) | XS5200 XS3200 XS1200 (w/ 10/25 Gb iSCSI SFP+/SFP28 Host Card)
Brand | Series | Model | Port | Bus Type | I/O | BIOS | FW | Comment | Date | iSCSI | iSCSI | iSCSI
25GbE HBA
ATTO | FastFrame | FFRM-N322 | 2 | PCIe 3.0 x8 | SFP28 |  |  |  | 2020-11-06 | V (FW 1.1.1) | V (FW 2.0.0) | V (FW 1.4.6)
Mellanox | ConnectX-4 Lx | CX4121A | 2 | PCIe 3.0 x8 | SFP28 |  |  |  | 2020-04-07 | V (FW 1.1.1) | V (FW 2.0.0) | V(FW 1.4.4)
Chelsio | T6225 | T6225-CR | 2 | PCIe 3.0 x8 | SFP28 |  |  |  | 2020-04-07 | V (FW 1.1.1) | V (FW 2.0.0) | V(FW 1.4.4)
Intel | XXV710 | XXV710-DA2 XXV710-DA1 | 2 1 | PCIe 3.0 x8 | SFP28 |  |  |  | 2020-03-27 | V (FW 1.1.1) | V (FW 2.0.0) | V(FW 1.4.4)
10GbE HBA
ATTO | FastFrame | NS14 NS12 NS11 | 4 2 1 | PCIe 2.0 x8 | SFP+ |  |  |  | 2011-05-06 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
Broaccom (Emulex) |  | OCe10102-IX-D | 2 | PCIe 2.0 x8 | SFP+ | 2.103.397.13 |  |  | 2011-08-19 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
Intel | X710 | X710-DA4 X710-DA2 | 4 2 | PCIe 3.0 x8 | SFP+ | 5.02 | 5.02 |  | 2016-05-03 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
Intel | X520 | X520-SR2 | 2 | PCIe 2.0 x8 | SFP+ |  |  |  | 2013-06-28 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
Intel | X540 | X540-T2 | 2 | PCIe 2.1 x8 | Copper |  |  |  | 2013-06-28 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
Mellanox | ConnectX-3 Pro EN | MCX312B-XCCT MCX312A-XCCT (1 Port) | 2 1 | PCIe 3.0 x8 | SFP+ |  | 2.36.5150 | Support Windows 2012 R2 only | 2016-07-29 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
1GbE HBA
Broadcom |  | NetXtreme II 5709 | 2 | PCIe x4 | Gigabit |  |  | iSCSI offload |  |  |  | V (FW 1.0.0)
HP |  | NC380T | 2 | PCIe | Gigabit | 1.9.6 | N/A | iSCSI offload |  |  |  | V (FW 1.0.0)
HP |  | NC360T | 2 | PCIe | Gigabit | [6 empty] | V (FW 1.0.0)
QLogic |  | QLE4062C | 2 | PCIe | Gigabit | 1.15 | 3.0.1.53 | iSCSI offload |  |  |  | V (FW 1.0.0)

## SAS HBA
XCubeDAS
Comment: V: Test with the FW version X: Not recommend Green font color: Revision content of the current version | [9 empty] | XD5300
Brand | Series | Model | Port | Bus Type | I/O | BIOS | FW | Comment | Date | SAS
12Gb SAS HBA
ATTO | ExpressSAS | H12F0 H1280 | 4 2 | PCIe 3.0 x8 | 12Gb/s |  | 2016_01_05 |  | 2016-05-03 | V (FW 1.0.0)
Broaccom (LSI) | SAS | 9302-16e | 4 | PCIe 3.0 x16 | 12Gb/s | P12 | P12 |  | 2016-05-03 | V (FW 1.0.0)
Broaccom (LSI) | SAS | 9300-16e 9300-8e | 4 2 | PCIe 3.0 x8 | 12Gb/s | P12 | P12 |  | 2016-05-03 | V (FW 1.0.0)
12Gb SAS RAID Controller Card
Areca | ARC-1883 Series | ARC-1883x ARC-1883LP ARC-1883ix-12 ARC-1883ix-16 ARC-1883ix-24 | 2 1 1 1 1 | PCIe 3.0 x8 | 12Gb/s |  | 1.54 |  | 2017-11-06 | V (FW 1.0.0)
Broaccom (LSI) | MegaRAID SAS | 9380-8e | 2 | PCIe 3.0 x8 | 12Gb/s |  | 24.15.0-0016 |  | 2015-08-21 | V (FW 1.0.0)
6Gb SAS HBA
ATTO | ExpressSAS | ExpressSAS H6F0 | 4 | PCIe 2.0 x8 | 6Gb/s |  | 2016_01_05 |  | 2016-05-03 | V (FW 1.0.0)
Broaccom (LSI) | SAS | 9207-8e | 2 | PCIe 3.0 x8 | 6Gb/s | P20 | P20 |  | 2015-08-21 | V (FW 1.0.0)
Broaccom (LSI) | SAS | 9200-8e | 2 | PCIe 2.0 x8 | 6Gb/s | P20 | P20 |  | 2010-06-03 | V (FW 1.0.0)
6Gb SAS RAID Controller Card
ATTO | ExpressSAS | R680 | 2 | PCIe 2.0 x8 | 6Gb/s |  | 2016_03_16 |  | 2016-05-03 | V (FW 1.0.0)
Broaccom (LSI) | MegaRAID SAS | 9286-8e | 2 | PCIe 3.0 x8 | 6Gb/s |  | 23.34.0-0005 |  | 2016-05-03 | V (FW 1.0.0)

## Switch
[7 empty] | XCubeFAS |  |  |  | XCubeSAN |  | XCubeDAS
Comment: V: Test with the FW version X: Not recommend Green font color: Revision content of the current version | [6 empty] | XF2026 (w/ 16Gb FC (SFP+) Host Card) | XF2026 (w/ iSCSI Host Card) | XF3126 (w/ 16Gb FC (SFP+) Host Card) | XF3126 (w/ iSCSI Host Card) | XS5200 XS3200 XS1200 (w/ 16Gb FC (SFP+) Host Card) | XS5200 XS3200 XS1200 (w/ iSCSI Host Card) | XD5300
Brand | Series | Model | Type | Family Models | Comment | Date | FC | iSCSI | FC | iSCSI | FC | iSCSI | SAS
16Gb FC Switch
Broadcom | Brocade 6505 Switch | 6505 | 24 x 16Gb/s (SFP+) ports |  |  | 2013/8/26 2013/10/2 | V (FW 1.0.0) |  | V (FW 2.0.0) |  | V (FW 1.0.0)
HP |  | SN3000B | 24 x 16Gb/s (SFP+) ports |  |  | 2016-05-23 | V (FW 1.0.0) |  | V (FW 2.0.0) |  | V (FW 1.0.0)
100GbE Ethernet Switch
Mellanox | SN2010 Series | MSN2010-CB2F | 18 x 25GbE/s (SFP28) ports, 4 x 100GbE/s (QSFP28) splittable ports |  |  | 2020-04-28 |  | V(FW 1.1.1) |  | V (FW 2.0.0) |  | V(FW 1.4.4)
10GbE Ethernet Switch
EnGenius | Cloud-enabled Switch | ECS5512 | 8 x 10GbE/s (RJ45) ports 4 x 10GbE/s (SFP+) ports |  |  | 2020-12-17 |  | V(FW 1.1.1) |  | V(FW 2.0.1) |  | V(FW 1.4.5)
EnGenius | Cloud-enabled Switch | ECS5512FP | 8 x 10GbE/s (RJ45) ports 4 x 10GbE/s (SFP+) ports |  | POE(Power-over-Ethernet) Support | 2021-03-18 |  | V(FW 2.0.1) |  | V(FW 2.0.1) |  | V(FW 2.0.0)
Legecy 16Gb Switch
Broadcom | Brocade 6510 Switch | 6510 | 48 x 16Gb/s (SFP+) ports |  | Qualified by authorized partner | 2018-06-29 | V (FW 1.0.0) |  | V (FW 2.0.0) |  | V (FW 1.0.0)

## UPS
[7 empty] | XCubeFAS |  | XCubeSAN
Comment: V: Test with the FW version X: Not recommend Green font color: Revision content of the current version | [6 empty] | XF2026 | XF3126 | XS5200 XS3200 XS1200
Brand | Series | Model | Type | Series Models | Comment | Date
UPS
APC | Smart-UPS |  | Smart-UPS + UPS Network Management Cards |  |  | 2015-12-01 | V (FW 1.0.0) | V (FW 2.0.0) | V
APC | Smart-UPS | SMT750TW + AP9630 | Management with Serial Port, USB Port SNMP with AP9630 (SNMPv1/v3) | SMT1000 SMT1000RM2U SMT1500 SMT1500RM2U SMT2200 SMT2200RM2U SMT3000 SMT3000RM2U |  | 2017-02-10 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
CyberPower | Smart App Sinewave | PR750LCD + RMCARD205 | Management with Serial Port, USB Port, and EPO SNMP / HTTP Remote Monitoring with RMCARD205 (SNMPv1/v3) | PR1000LCD PR1500LCD PR1000LCDRT2U PR1500LCDRT2U PR2200LCDRT2U PR3000LCDRT2U |  | 2016-08-31 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
Eaton | 9130 | PW9130L1000R-XL2U + Network Card-MS | Management with Serial Port, USB Port SNMP with Network Card-MS (SNMPv1/v3) | Eaton 9130 Rackmount UPS Eaton 9130 Tower UPS |  | 2017-02-10 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)
Powercom | Vanguard | VGD-700 + UPS SNMP Network Management Card | Management with Serial Port, USB Port SNMP with UPS SNMP Network Management Card (SNMPv1) | VGD-1000 VGD-1500 | Not support SNMPv3 | 2017-02-10 | V (FW 1.0.0) | V (FW 2.0.0) | V (FW 1.0.0)

## Certification
Green font color: Revision content of the current version
Product name | Front-end Type | FW version | MPIO driver | Submission ID | Qualification O.S | Approve date | Comment
WQHL (http://www.windowsservercatalog.com/results.aspx?text=qsan&bCatID=1282&avc=10&ava=0&OR=5&chtext=&cstext=&csttext=&chbtext=)
XCubeFAS XF3126D | 10GbE iSCSI 16Gb FC | 2.0.0 | 010.0000.17763.0652 | 1152921505691401320 | Windows Server 2019 x64 | 2020-09-27 | https://www.windowsservercatalog.com/item.aspx?idItem=3066a9bd-a167-6611-3e98-b0a17b3359a6&bCatID=1282
XCubeFAS XF2026D | 10GbE iSCSI 16Gb FC | 1.1.0 1.0.2 1.0.1 | 010.0000.14393.1532 (iSCSI) 6.3.9600.17401 (FC) | 1152921504628266844 1152921504628266852 1152921504627909901 | Windows Server 2019 x64 Windows Server 2016 x64 | 2019/12/17 2019/1/23 2019/1/9 | https://www.windowsservercatalog.com/item.aspx?idItem=087f709f-9258-823e-0792-ba0cc79400f6&bCatID=1282
XCubeSAN XS5200 | GbE iSCSI 10GbE iSCSI 16Gb FC | 1.4.2 1.0.0 | 6.2.9200. 16384 | 1152921504628266844 1152921504628266852 1831070 1831121 1849255 1852480 | Windows Server 2019 x64 Windows Server 2016 x64 Windows Server 2012 R2 x64 Windows Server 2012 x64 | 2019/12/17 2016/4/12 2016/4/13 2016/6/14 2016/6/21 | https://www.windowsservercatalog.com/item.aspx?idItem=59dbad6a-af7c-8f2a-8c44-41851c245200&bCatID=1282
XCubeSAN XS3200 | GbE iSCSI 10GbE iSCSI 16Gb FC | 1.4.2 1.0.0 | 6.2.9200. 16384 | 1152921504628266844 1152921504628266852 1878350 1881687 1881691 1882668 | Windows Server 2019 x64 Windows Server 2016 x64 Windows Server 2012 R2 x64 Windows Server 2012 x64 | 2019/12/17 2016/8/8 2016/8/11 2016/8/11 2016/8/16 | https://www.windowsservercatalog.com/item.aspx?idItem=bbb6e5c5-bcc1-8079-532c-67128a8177e7&bCatID=1282
XCubeSAN XS1200 | GbE iSCSI 10GbE iSCSI 16Gb FC | 1.4.2 1.2.0 | 6.2.9200. 16384 | 1152921504628266844 1152921504628266852 1152921504627097611 1152921504627097667 | Windows Server 2019 x64 Windows Server 2012 R2 x64 Windows Server 2012 x64 | 2019/12/17 2017/10/23 2017/10/23 | https://www.windowsservercatalog.com/item.aspx?idItem=d510a004-a6e8-ee3e-ee32-dc7963d01de1&bCatID=1282
XCubeDAS XD5300 | 12Gb SAS | 1.0.0 |  | 1819532 1830492 1831122 | Windows Server 2016 x64 Windows Server 2012 R2 x64 Windows Server 2012 x64 | 2016/3/12 2016/4/11 2016/4/15 | https://www.windowsservercatalog.com/item.aspx?idItem=5e8646c4-c385-f252-8fad-81fad61162b9&bCatID=1282
VMware (https://www.vmware.com/resources/compatibility/search.php?deviceCategory=san&partner=360)
XCubeFAS XF3126 | 16Gb FC | 2.0.0 | N/A |  | ESXi 6.7 | 2021-01-29 | VAAI-Block https://www.vmware.com/resources/compatibility/detail.php?deviceCategory=san&productid=51911
XCubeFAS XF2026 | 16Gb FC | 1.0.1 | N/A |  | ESXi 6.7 | 2020-03-19 | VAAI-Block https://www.vmware.com/resources/compatibility/detail.php?deviceCategory=san&productid=49709
XCubeSAN XS5200 | GbE iSCSI 10GbE iSCSI | 1.0.0 | N/A |  | ESXi 6.7 ESXi 6.5 (U1) ESXi 6.0 (U1/U2/U3) | 2017/6/2 2016/5/23 | VAAI-Block https://www.vmware.com/resources/compatibility/detail.php?deviceCategory=san&productid=40963
XCubeSAN XS5200 | 16Gb FC | 1.0.0 | N/A |  | ESXi 6.7 ESXi 6.5 (U1) ESXi 6.0 (U1/U2/U3) | 2017/6/2 2016/5/23 | VAAI-Block https://www.vmware.com/resources/compatibility/detail.php?deviceCategory=san&productid=41363
XCubeSAN XS3200 | GbE iSCSI 10GbE iSCSI | 1.0.0 | N/A |  | ESXi 6.7 ESXi 6.5 (U1) ESXi 6.0 (U1/U2/U3) | 2017/6/2 2016/7/19 | VAAI-Block https://www.vmware.com/resources/compatibility/detail.php?deviceCategory=san&productid=41604
XCubeSAN XS3200 | 16Gb FC | 1.0.0 | N/A |  | ESXi 6.7 ESXi 6.5 (U1) ESXi 6.0 (U1/U2/U3) | 2017/6/2 2016/7/19 | VAAI-Block https://www.vmware.com/resources/compatibility/detail.php?deviceCategory=san&productid=41607
XCubeSAN XS1200 | GbE iSCSI 10GbE iSCSI | 1.0.0 | N/A |  | ESXi 6.7 ESXi 6.5 (U1) | 2018-01-23 | VAAI-Block https://www.vmware.com/resources/compatibility/detail.php?deviceCategory=san&productid=45020
XCubeSAN XS1200 | 16Gb FC | 1.0.0 | N/A |  | ESXi 6.7 ESXi 6.5 (U1) | 2018-02-05 | VAAI-Block https://www.vmware.com/resources/compatibility/detail.php?deviceCategory=san&productid=45021
Citrix (https://citrixready.citrix.com/category-results.html?search=QSAN)
XCubeSAN XS1200 | GbE iSCSI 10GbE iSCSI 16Gb FC | 1.2.0 | N/A |  | Citrix XenServer 7.1, 7.2 | 2017/10/7 | https://citrixready.citrix.com/kits/profile/product-profile/2610
Veeam
XCubeSAN XS5200 | GbE iSCSI 10GbE iSCSI 16Gb FC | 1.2.2 | N/A | KB ID: 2437 | Veeam Backup & Replication 9.5 | 2018-01-26 | https://www.veeam.com/kb2437
XCubeSAN XS3200 | GbE iSCSI 10GbE iSCSI 16Gb FC | 1.2.1 | N/A | KB ID: 2406 | Veeam Backup & Replication 9.5 | 2017/12/1 | https://www.veeam.com/kb2406

## Expansion Unit
XCubeSAN
Comment: V: Test with the FW version X: Not recommend Green font color: Revision content of the current version | [7 empty] | XS5200 XS3200 XS1200
Brand | Series | Model | Drive Bays | HW Date Code | FW | Comment | Date
Seagate | Exos | Exos E 4U106 | 106 | - | 524A |  | 2019-12-30 | V (1.4.3)
Western Digital | Ultrastar | Data60 | 60 | 2819 or higher | 2.0.4 | Recommended SAS cable length is less than 1.5M | 2019-10-02 | V (1.4.2)
Western Digital | Ultrastar | Data102 | 102 | 2619 or higher | 2.0.4 | Recommended SAS cable length is less than 1.5M | 2019-12-30 | V (1.4.3)